## Sheet1
Q. No | Type | question | option_a | option_b | option_c | option_d | correct_asnwer
1 | SCQ | What is the corresponding output of DP transmitters in square root mode for 75% of the input? | 12mA | 16mA | 17.85mA | Either a or b | C
2 | SCQ | Non-metallic diaphragms are generally made from | Bakelite sheet | Paper | Rigid ceramic compounds | Synthetic rubber | D
3 | SCQ | The pressure measured above total vacuum is called | Absolute pressure | Atmospheric pressure | Negative pressure | Gauge pressure | A
4 | SCQ | Which principle is used in DP type of flow measurement? | Bernoulli's principle | Faraday's law | Pascal law | Thermoelectric effect | A
5 | SCQ | In calibrating pressure instruments, we first adjust its _________ | Linearity | output | Span | Zero | D
6 | SCQ | How much straight length is required for common flow sensor installation? | 10 D & 2 D | 10D & 5 D | 10D & 7D | 5 D & 5 D | B
7 | SCQ | What is the meaning of NRV in liquid flow system? | negative feedback valve | no return valve | Non return valve | non running valve | C
8 | SCQ | What is the basic principle used in Ultrasonic level sensor? | Coherent Effect | Dispertion effect | Doppler effect | Elapsed time | D
9 | SCQ | What temperature does the 112.45 ohm resistance of the PT 100 represent? | 32 C | 34 C | 35 C | 36 C | A
10 | SCQ | Zero and span adjustments can be done by ____. | Heart - Communicator | Zero and Span Potentiometer | both a and b | none | C
11 | SCQ | LVDT measures ___. | Linear Displacement | Pressure | rotary displacement | all | A
12 | SCQ | The sensitivity of the diaphragm used in the measurement system can be increased to _____. | Decreasing the depth of corrugation | Decreasing the number of corrugation | both a and b | None | B
13 | SCQ | Which of the following is a digital transducer | Encoder | LVDT | Strain Guage | thermistor | A
14 | SCQ | The performance of the capacitance level indicator is badly affected by dirt, as they change _____. | Area of plate | Dielectric constant | Distance between two plates | None of these | B
15 | SCQ | What is the corresponding output of DP transmitters in square root mode for 50% of the input? | 12mA | 15.31mA | 17.85mA | 8mA | B
16 | SCQ | The following transducer can convert temperature into voltage directly | Bimetallic strip | hall effect transducer | quartz crystal | Thermo-couple | D
17 | SCQ | Flow is directly proportional to | DP | Square of DP | Square root of DP | None of these | C
18 | SCQ | Magnetic flow meter in horizontaly installed, needed | at least half a pipe | full throat flow | Either a or b | none | B
19 | SCQ | What does FIC mean? | Flow Inductive Controller | Flow Intensive Control | Flow Indicating Controller | None of these | C
20 | SCQ | On what principle thermocouple works? | Peltier effect | Seebeck effect | Thomson effect | None of these | B
21 | SCQ | Range of N type of thermocouple | (-50°C to 768°C) | (0°C to 1820°C) | (200°C to 1200°C) | (-50°C to 1768°C) | C
22 | SCQ | Type of transmission in HART is | TSK | FSK | TDM | FDM | B
23 | SCQ | Orifice plate is more accurate than Venturi tube. | TRUE | FALSE |  |  | A
24 | SCQ | For magnetic flow meter to work, fluid must be __________. | Conductive | non Conductive | capacitive | any of them | A
25 | SCQ | Standard instrumentation signal is _______ to __________ | 0 to 10 v | 0 to 20 mA | 4 to 20 mA | 3 to 15 psi | C
26 | SCQ | Most commonly used two manometric liquids are ________ & ________ | Mercury & Water | Mercury & Alcohol | Water & Alcohol | Mercury & Boron | A
27 | SCQ | In radioactive level measurement method the scintillation counter measures the _________ of the radioactive rays. | Time of travel | Intensity | Velocity | All of them | B
28 | SCQ | Which one of the following is active transducer? | RTD | Thermocouple | LVDT | Strain Gauge | B
29 | SCQ | DP type Pressure transmitter can be used as ____________ | Only Pressure measurement | Only Flow measurement | Only Liquid level measurement | all of them | D
30 | SCQ | Output of I/P converter is _______________. | 0 to 20 psi | 0 to 10 volt | 3 – 15 psi | 4-20 mA | C
31 | SCQ | The output of an LVDT is _________ whenever the core is in centre position. | 0 volt | Mean volt | Full volt | Minimum volt | A
32 | SCQ | Which Encoder holds its last position even after power failure | Incremental Encoder | Absolude Encoder | Both | None | B
33 | SCQ | Which codes are used in encoder to minimize error due to glitches or noise. | Binary | Gray | BCD | ASCII | B
34 | SCQ | In PID control what P stand for | positive | proportional | positional | positioner | B
35 | SCQ | In HART 1 (one) level signal is of ___________ Hz | 1 Hz | 0 Hz | 1200 Hz | 2200 Hz | C
36 | SCQ | Rotameter used to measure _________. | Temperature | Pressure | Level | Flow | D
37 | SCQ | Output of thermistor is _____________. | millivolt dc | millivolt ac | milliampere | resistance | D
38 | SCQ | What does SSI stands in case of signal transmit | Serial Synchronous Interface | Serial Synchronous Internate | Series Synchronous Interface | Series Synchronous Internate | C
39 | SCQ | What is the full form of SRE | Square root eleminator | Square root extractor | Serial remote extractor | Serial remote eliminator | B
40 | SCQ | How many pnumatic connection required in a normal positioner for single acting actuator | 1 | 2 | 3 | 4 | C
41 | SCQ | How many pnumatic connection required in a normal positioner for Double acting actuator | 1 | 2 | 3 | 4 | D
42 | SCQ | HART is a ____________ | Contactor | Relay | Protocol | Breaker | C
43 | SCQ | For pneumatic control valves, the control signal is generated from ____. | D to I converter | I to D converter | I to P converter | P to I converter | C
44 | SCQ | A pneumatic pressure transmitter can be _____. | capsular type | helical | slack diaphragm type | All | D
45 | SCQ | What is meant by valve positioner | It positions the valve opening as per signal of i/p | It is a pneumatic device | It is an electrical transducer | None of these | A
46 | SCQ | Name two conductors used in N-type thermocouple | Chrome-constantan | Nickle-nisil | Nickle-nicrosil | Nicrosil-nisil | D
47 | SCQ | Standard Pneumatic Signal for Instruments is | 0 to 10 v | 0 to 20 mA | 4 to 20 mA | 3 to 15 psi | D
48 | SCQ | Manometers are used for | Gauge pressure | Absolute pressure | Atmospheric pressure | Negative pressure | A
49 | SCQ | Lead wire compensation is required with | RTD | Thermocouple | Thermistor | All | A
50 | SCQ | What is the Reynold number indication for Turbulent flow | < 2300 | > 2300 | 2300 | None of these | B
51 | SCQ | What does Cv=50 mean in control valve application? | Flow of liquid 50T/Hr through control valve at 75 % opening condition | Maximum flow of 50T/Hr through control valve at full opening condition | Minimum flow of 50T/Hr through control valve | None of these | B
52 | SCQ | Annular orifice flow-meter was developed to overcome the problem of | Dirt build up in front of an orifice in liquid stream | Liquid build up in a moist gas stream | Both a and b | All | C