## L2_POST
QNO. | TYPE | QUESTION | A | B | C | D | CORRECT ANSWER
|  | Data block DB100 was declared with a length of 10-bytes (DBB0-DBB9). What happens during processing of the instruction: T DB100.DBB12? | The transfer commend is ignored. Instead, a NOP 0 commend is executed. | The transfer commend is executed. The processer automatically extends the length of the data block in work memory | If there is no error OB loaded, the CPU changes to STOP mode.
|  | STEP 7 provides the blocks type function “FC” and function block “FB” to structure the program. Which statement about the functions (FC) are correct? | When a function is called, all the block parameters must be supplied with actual operands | Function is assigned a memory in the form of an instance data block. | Within the FC both temporary and static tags can be specified
|  | Instance DBs assigned to which types of blocks? | System function SFC | Organization block OB | Function block FB | Function FC
|  | Which organization block is called during a manual restart? | OB 102 | OB 100 with S7-300 CPU and OB 101 with S7-400 CPU | OB 101 | It depends on default setting while hardware configuration
|  | Which of the following assignment is/are correct? | Cyclic interrupts are represented by OB 35 | Hardware interrupts are represented by OB 83 | Asynchronous error OBs are represented by OB 40 | The cyclic program is processed by OB 10
|  | With an S7-300 CPU, you have defined 10 memory bytes as retentive. Which of the following statements are correct? | The contents of these memory bytes are deleted for a power down. | The contents of these memory bytes are not deleted following a power down even if there is no battery backup | The contents of these memory bytes are not deleted following a memory reset
|  | How are the contents of ACCU 2 influenced by load operation? | ACCU 2 is overwritten with the content of ACCU 1 | ACCU 2 contains the loaded value. | ACCU 2 remains unchanged. | ACCU 1 & 2 remains unchanged
|  | Which answer names all the memory bytes addressed with MD 200? | MB 200, 202 | MB 200,201,202,203 | MB 200 | MW 200,201,202,203
|  | With which timer function, timer does not start on a rising edge? | Extend pulse SE | Pulse SP | Off delay SF | Retentive on delay SS
|  | Counter C4 has counter value 999.What happens if a further count pulse arrives at the CU input? | Counter value remains at 999 | New counter value: 0 and the RLO is set to 1 to trigger the next counter | New counter value: 998. | CPU changes to stop
|  | Which of the step7 instruction listed not changes the content of ACCU1? | T QW20 | A M100.4 | .+I | L IW2
|  | What is the output of a comparator operation? | A result of logic operation RLO | The difference of the two values to be compared | A value that results from the type of comparison (greater than or less than……….)
|  | From the programming software, you want to download the hardware configuration of the project to the CPU. Which object you transfer? | CPU | OB1 | SFB | SDB
|  | With which STEP7 tool do you run functional test of the inputs or the memory sensor circuit? | Symbol Editor | Monitor/Modify Table | Diagnostics buffer | SIMATIC Manager
|  | The STOP LED of a CPU 412-2 is flashing quickly. What does this mean? | There was a CPU memory reset | There will be CPU memory reset | CPU has recognized a critical error and is requesting a memory reset | CPU requires firmware upgradation
|  | What function does a measurement range module have on an analog module? | Allocates the incoming voltage or current signal in the module | Converts the measured analog signal (e.g. pressure) to a voltage signal. | Specify the address of the individual channel | Converts analog signal to binary signal
|  | Which value is assigned to output byte QB 12. | MB6 | MB5 | MB4 | MB7
|  | Is there a data type that belongs both to DBW0 and to DBW1? | Yes, it is DBB0 | Yes, it is DBB1 | NO | Yes, it is DBB2
|  | What will be the content of ACCU2 after executing L MW40 twice (MW40 = 20)? | 20 | 40 | 60 | 80

## L3_PRE
Q. No | Type | Question | A | B | C | D | Correct Answer
1 | Fill | WinCC stands for
2 | MCQ | How many types of Wincc projects are we can configure? | ONE | TWO | THREE | FOUR
3 | MCQ | Where to define start-up picture? | Graphics Designer | Computer Option | Both above | None of the above
4 | Fill | ALARM-LOGGING and TAG-LOGGING are enabled from
5 | MCQ | Full form of WinCC RC? | Run Configuration | Real Time Configuration | Run Time Configuration | None of the Above
6 | MCQ | Which is/are the different communication protocol(s) in WinCC? | MPI | PROFIBUS | NAMED | ALL OF THE ABOVE
7 | MCQ | Which type of project is used for Server in Server-client project? | Multi Project | Client Project | Single Project | None of the Above
8 | MCQ | Which Siemens card is/are used for communication of Siemens H-PLC? | CP5611 | CP5613 | CP1623 | None of the above
9 | MCQ | How many types of WinCC Tags are there? | 4 | 1 | 2 | 3
10 | MCQ | What should be used to display historical log of WinCC tags in graphical form? | WinCC Online Alarm Control | WinCC Online Trend Control | WinCC Online Table Control | ALL OF THE ABOVE
11 | Fill | Maximum Number of OS Standalone Station Can be Incorporated
12 | MCQ | Which Type of Tag Will be used to Make a Start Button? | Floating | Bool | Binary | None Of the Above
13 | MCQ | What should be used to display analog values in WinCC? | Text Field | I/0 Field | Static Display | Dynamic Display
14 | Fill | OPC Stands For
15 | MCQ | Where can user authorization login details and scope of user be configured in WinCC? | Configure Properties | User Administrator | User Access | Authorization Center

## L3_POST_WINCC
Q. No | Type | question | option_a | option_b | option_c | option_d | correct_asnwer
1 | Fill | WinCC stands for |  |  |  |  | Win Credit Card
2 | MCQ | How many types of Wincc projects are we can configure? | ONE | TWO | THREE | FOUR | A
3 | MCQ | Where to define start-up picture? | Graphics Designer | Computer Option | Both above | None of the above | C
4 | MCQ | Full form of WinCC RC? | Run Configuration | Real Time Configuration | Run Time Configuration | None of the Above | C
5 | MCQ | Which is/are the different communication protocol(s) are there in WinCC? | MPI | PROFIBUS | NAMED | ALL OF THE ABOVE | A
6 | MCQ | How many types of WinCC Tags are there? | 4 | 1 | 2 | 3 | D
7 | MCQ | Which Type of Tag Will be used to Make a Start Button? | Floating | Bool | Binary | None Of the Above | B
8 | MCQ | What should be used to display analog values in WinCC? | Text Field | I/0 Field | Static Display | Dynamic Display | A
9 | MCQ | You Design your graphics in where? | Graphics Designer | RT | Tag management | None of the above | D
10 | MCQ | Which type of project is used for Standalone project? | Multi Project | Client Project | Single Project | None of the Above | D
11 | MCQ | What is the by Default tags you can add in Archive Tag? | 1024 | 512 | 32000 | None Of the Above | D
12 | MCQ | From where you can check the version of Wincc? | About Wincc Explorer | View | Tool | All the Above | D
13 | MCQ | From Where you Activate Alarm Logging Runtime? | Computer Properties | Alarm Logging | User Administration | None of The Above | D
14 | MCQ | From where you Put PLC I/P address in Wincc? | System Parameter | Connection Parameter | Both The above | None Of the above | B
15 | MCQ | In graphics designer from where you can add a button? | Process tool Bar | Standard tool Bar | Control tool Bar | None of the above | C
16 | MCQ | From where you can define start PDL? | Graphics Runtime | Runtime | Startup | General | A
17 | MCQ | To configure a Start Button you do Tag Linking in – | Dynamic Dialogue | Direct Connection | C-Action | Tag | B
18 | MCQ | To Give some Numerical Input you Chose – | Static Text Field | Picture Window | Bar | None Of the Above | D
19 | MCQ | What should be used to display historical record log of WinCC tags in graphical form? | WinCC Online Alarm Control | WinCC Online Trend Control | WinCC Online Table Control | NONE OF THE ABOVE | C
20 | MCQ | To use restriction in access we use— | User Administration | User Archive | Alarm logging | None of the above | D